| THE MINISTRY OF INDUSTRY AND TRADE OF VIETNAM -------- | THE SOCIALIST REPUBLIC OF VIETNAM Independence – Freedom – Happiness --------------- |
| --- | --- |
| No: 1009/QD-BCT | Hanoi, April 14, 2025 |

DECISION

APPROVING THE GENERATION PRICE BRACKET FOR COAL POWER PLANTS IN 2025

THE MINISTER OF INDUSTRY AND TRADE

Pursuant to Law on Electricity dated November 30, 2024;

Pursuant to Decree No. 40/2025/ND-CP dated February 26, 2025, of the Government on the functions, tasks, powers and organizational structure of the Ministry of Industry and Trade;

Pursuant to Circular No. 09/2025/TT-BCT dated February 1, 202,5 of the Minister of Industry and Trade on the documentation, procedures, methods for determining and approving the price bracket for electricity generation; documentation, procedures for developing and approving the price bracket for imported electricity;

Considering the request of the Vietnam Electricity (EVN) in document No. 1771/EVN-TTD dated March 20, 2025;

At the request of Director General of Electricity Authority of Vietnam.

HEREBY DECIDES:

Article 1. Issuance of the generation price bracket for coal power plants in 2025

The generation price bracket for coal power plants in 2025 specified in Point a of Clause 2 of Article 1 of Circular No. 09/2025/TT-BCT dated February 1, 2025 of the Minister of Industry and Trade on the documentation, procedures, methods for determining and approving the price bracket for electricity generation; documentation, procedures for developing and approving the price bracket for imported electricity is specified as follows:

1. The generation price bracket for coal power plants in 2025: 0 - 1.705,68 VND/kWh (VAT not included). Where: the maximum price is 1.705,68 VND/kWh.

2. The parameters used to calculate the maximum price of the generation price bracket for coal power plants in 2025 are as follows:

- Installed capacity: 1.309,4 MW.

- Coal consumption at 85% PLF: 2.167,81 kcal/kWh.

- Higher Heating Value (HHV): 4.788 kcal/kWh.

- Coal price: 1.974.952 VND/ton

- Exchange rate VND/USD: 25.670.

Article 2. Implementation

Pursuant to the price bracket for electricity specified in Article 1 hereof, EVN and the power generating unit shall sign a power purchase agreement in compliance with the regulations on the method of determining the electricity generation service price issued by the Minister of Industry and Trade.

Article 3. Implementation clauses

1. This Decision comes into force from the date on which it is signed

2. The Chief of the Ministry Office, Director General of the Department of Legal Affairs, Heads of units affiliated to the Ministry, General Director of EVN and Heads of relevant power generating units are responsible for implementing this Decision./.

|  | PP. MINISTER DEPUTY MINISTER Nguyen Hoang Long |
| --- | --- |

------------------------------------------------------------------------------------------------------
This translation is made by THƯ VIỆN PHÁP LUẬT, Ho Chi Minh City, Vietnam and for reference purposes only. Its copyright is owned by THƯ VIỆN PHÁP LUẬT and protected under Clause 2, Article 14 of the Law on Intellectual Property.Your comments are always welcomed